## Sheet1
Home Maintenance Checklist
Standard Agreement Including AC
January
q | Clean and seal kitchen countertops
q | Clean bathroom fans | included
q | Post holiday cleanup
q | Check grout in all bathrooms | included
q | Clean dishwasher strainer | included
q | Check under sinks for leaks | included
q | Clean debris off roof | included
q | Exterminate | included
q | Clean gutters and drains | included
q | Salting and snow removal/yr | included
February
q | Clean and regrout shower stalls
q | Clean kitchen hood/exhaust | included
q | Clean dryer vents | included
q | Clean and seal bathroom stone
q | Clean/vacuum refrigerator compressor | included
q | Check for rodents digging in front and back | included
q | Put hair dissolver in bathroom sinks, tubs and showers | included
q | Basement cleanout and debris removal
q | Exterminate | included
q | Clean gutters and drains/check downspout for ice clogs | included
q | Salting and snow removal | included
March
q | Change AC filters in inside units, check drainage pan and inspect unit | included
q | Clean drip pans and drains in inside air handler units | included
q | Vacuum all AC registers and return air grills | included
q | Check for falling ice chunks | included
q | Inspect exterior paint | included
q | Clean snow off skylights | included
q | Clean dishwasher strainer | included
q | Check under sinks for leaks | included
q | Exterminate | included
q | Clean gutters and drains/check downspout for ice clogs | included
q | Salting and snow removal | included
April
q | Clean AC condensers | included
q | Clean AC filters in inside and outside units, check drainage pan and inspect unit | included
q | Clean garbage area | included
q | Turn on outdoor water lines | included
q | Inspect roof for warping, aging, moss or cracking | included
q | Change Water Filters | included
q | Powerwash sidewalk, back patio and Master bedroom patio | included
q | Wash front entryway and sidewalk | included
q | Inspect exterior wood for rotting or decay | included
q | Check for rodents digging in front and back | included
q | Exterminate | included
q | Clean gutters and drains | included
q | Clean off roof | included
May
q | Spring planting
q | Clean inside and outside windows | included
q | Clean BBQ grill | included
q | Check under sinks for leaks | included
q | Clean all outdoor furniture | included
q | Change AC filters in inside and outside units, check drainage pan and inspect unit | included
q | Inspect foundation for water penetration | included
q | Exterminate | included
q | Clean gutters and drains | included
June
q | Check trim and feed landscaping and deadhead flowers
q | Clean terraces and patios | included
q | Clean patio furniture | included
q | Inspect Appliance hoses and ventilation | included
q | Clean garbage area | included
q | Check for AC leaks | included
q | Precautionary walkthrough/gutter cleaning before major storms | included
q | Put hair dissolver in bathroom sinks, tubs and showers | included
q | Check under sinks for leaks | included
q | Clean AC filters in inside and outside units, check drainage pan and inspect unit | included
q | Exterminate | included
q | Clean gutters and drains | included
July
q | Maintain landscaping, tree wells and deadhead flowers
q | Clean front sidewalk and entryway | included
q | Monthly walkthrough
q | Wash front entryway and sidewalk | included
q | Clean gutters and drains before big storms | included
q | Clean dishwasher strainer | included
q | Change Water Filters | included
q | Spot clean carpets and fabric
q | Clean/vacuum grills near entrance doors | included
q | Check for rodents digging in front and back | included
q | Change AC filters in inside and outside units, check drainage pan and inspect unit | included
q | Exterminate | included
q | Clean gutters and drains | included
August
q | Maintain landscaping, tree wells and deadhead flowers
q | Clean garbage area | included
q | Clean gutters and drains before big storms | included
q | Inspect exposed plumbing areas for dampness | included
q | Check caulking on exterior doors and windows | included
q | Inspect for loose/cracked grout around tiles, sinks, tubs, showers, toilets, counters | included
q | Put hair dissolver in bathroom sinks, tubs and showers | included
q | Check under sinks for leaks | included
q | Wash front entryway and sidewalk | included
q | Change AC filters in inside and outside units, check drainage pan and inspect unit | included
q | Exterminate | included
q | Clean gutters and drains | included
September
q | Clean/vacuum heating ducts, grills and registers | included
q | Inspect weather stripping around doors and replace as needed | included
q | Check perimeter and foundation for any openings | included
q | Replace smoke and carbon monoxide alarm batteries | included
q | Top off oil in all circulator pumps | included
q | Clean dishwasher strainer | included
q | Check for rodents digging in front and back | included
q | Clean AC filters in inside and outside units, check drainage pan and inspect unit | included
q | Exterminate | included
q | Clean gutters and drains | included
October
q | Service furnace or other heating system | included
q | Check traps and vents for all radiators | included
q | Clean kitchen hood/exhaust | included
q | Change Water Filters | included
q | Clean garbage area | included
q | Seasonal decorating
q | Put hair dissolver in bathroom sinks, tubs and showers | included
q | Check under sinks for leaks | included
q | Exterminate | included
q | Clean gutters and drains | included
November
q | Inspect chimney | included
q | Winterize plantings
q | Back yard cleanup/clean leaves off roof | included
q | Clean dishwasher strainer | included
q | Check for rodents digging in front and back | included
q | Seasonal decorating
q | Water turn off and blow out all outdoor lines | included
q | Change water filters | included
q | Exterminate | included
q | Clean gutters and drains | included
December
q | Vacuum drapes
q | Clean remaining leaves off roof | included
q | Damp wipe all horizontal surfaces for dust
q | Check under sinks for leaks | included
q | Drop off ice melt | included
q | Put hair dissolver in bathroom sinks, tubs and showers | included
q | Exterminate | included
q | Snow shoveling | included
q | Clean gutters and drains | included
| Billed at $980/Month | 11760